Graphs

Experiment # 1

SIG NAL GENERATOR AND OSCILLOSCOPE

1. Use the signal generator and the oscilloscope to perform the following tasks. 2, Build circuit 	shown below in Figure I

3m Set the signal generator to generate a sinusoidål signal with a frequency of 100 1-Iz and peak-ti peak voltage of 5V.

4. Set up one probe across input signål, and another across RI and R2 alternatively.

5+ Measure and draw all the voltages and time related parameters on the graphs below.

21

Experiment # 2

SIGNAL GENERATOR AND OSCILLOSCOPE

I . Use the signal generator and the oscilloscope to perform the following tasks.

- Build circuit 'B' shown below in Figure 7.

- Set the signal generator to generate a sinusoidal signal with a frequency of 200 HI and peak-to peak voltage of 7 V.

- Set up one probe across input signal, and another across RI, R2 and R3 alternatively,

- Measure and draw all the voltages and time related parameters on the graphs below